## Slide 1
Heated Air 加熱空気
Carbide 炭化物
Carbonization furnace
炭化炉
Dewatered sludge
脱水汚泥
Dried sludge
乾燥汚泥
Bag Filter
バグフィルター
Air
空気
Pyrolysis gas
熱分解ガス
combustion gas
燃焼ガス
Water
水
NH3
SO2
（NH4）2SO4
Composting &
Drying Device
堆肥化・乾燥装置
Sludge dehydration system
Sludge thickening
Exhaust gas 排ガス
Self-energy drying
Settling basin
BOD removal
Aeration tank
Sedimentation basin
Chlorine blending basin
Discharge
Sewage treatment system (activated sludge treatment method)
Combustion furnace
燃焼炉
Heat exchanger熱交換器
Activated carbon liquid
活性炭液